## Simulation Protocol
Stream properties
Index | 0 | 1 | 2 | 3 | 4 | 5 | 6
T, K | 300 | 71.0625 | 60 | 70 | 299 | 419.3777 | 300
P, bar | 3.5174 | 3.3174 | 2 | 1.9 | 1.8 | 3.6174 | 3.5174
S, kJ/(kg*K) | -2.6123 | -9.9753 | -9.8025 | -8.8939 | -1.2382 | -0.93092 | -2.6123
H, kJ/kg | 0.82266 | -1188.7047 | -1246.4689 | -1194.4591 | -4.9318 | 620.7996 | 0.82266
Exergy, kJ/kg | 784.5253 | 1803.8774 | 1694.2943 | 1473.6991 | 366.5417 | 900.075 | 784.5253
M, kg/s | 0.096136 | 0.096136 | 0.096136 | 0.096136 | 0.096136 | 0.096136 | 0.096136
Fluid name | Helium.FLD | Helium.FLD | Helium.FLD | Helium.FLD | Helium.FLD | Helium.FLD | Helium.FLD
Mole composition | [1.0] | [1.0] | [1.0] | [1.0] | [1.0] | [1.0] | [1.0]
Component properties
name |  | Heat exchanger
number_of_cells |  | 2
| inlet | 0
| outlet | 1
| pressure_drop | 0.2
| capacity | -114.3561
| inlet | 3
| outlet | 4
| pressure_drop | 0.1
| capacity | 114.3561
NTU |  | 222.1264
exergy_loss |  | 8.4412
cell1_for_NTU |  | 0
cell2_for_NTU |  | 1
name |  | Turbine
eta_is |  | 0.85
inlet |  | 1
outlet |  | 2
pressure_ratio |  | 1.6587
power |  | 5.5532
exergy_loss |  | 4.9816
name |  | Cooler / Load heat exchanger
inlet |  | 2
outlet |  | 3
pressure_drop |  | 0.1
capacity |  | 5
exergy_loss |  | 21.2071
outlet_temperature |  | 70
name |  | Compressor
eta_is |  | 0.8
inlet |  | 4
outlet |  | 5
pressure_ratio |  | 2.0097
power |  | 60.1552
exergy_loss |  | 8.8635
name |  | Cooler / Load heat exchanger
inlet |  | 5
outlet |  | 6
pressure_drop |  | 0.1
capacity |  | -59.602
exergy_loss |  | 11.1085
outlet_temperature |  | 300